O’YA MARKETING SOLUTION & INTERIOR DESIGN CO., LTD.

TEL：886-2-2655-2777   FAX：886-2-2655-2999

Alice #174 ; Steve #220

oya-secutech@o-ya-design.com

Deadline

2026.03.13

Form 3-6

『Raw Space Only』

| 1．Technical Services |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Each booth (9m²) is supplied with 110 Volts / 0.5 kilowatt (with NFB and DB) power free of charge. Booth total: the number of x 0.5 kW = free of charge; |  |  |  |  |  |
| - No exceed basic power supply. Please confirm with your contractor. |  |  |  |  |  |
| - Additional requirement power supply.(For the charges please refer to Form3-7) |  |  |  |  |  |
| 2．Plan of Technical |  |  |  |  |  |
| - This plan is not for booth construction purposes. Please mark the following details on the plan: booth number, type of booth, neighbor booth number, exact position(s) of technical items, and the supply of watts and volts for DB. |  |  |  |  |  |
| - If it cannot be marked below, please enclose the drawing with Form 3-6 and Form 3-7(if applicable) and indicate company name, contact, and booth number. |  |  |  |  |  |
| Example: |  |  |  |  |  |
| Important – Please read and check the boxes below and inform to the person on site. |  |  |  |  |  |
| □ All applications are required to submit the technical plan with Form 3-7. □ If not specified or plan otherwise all your requested utility points will be upon our contractor’s discretion. □ A 50% surcharge for any relocation on-site order will be at the expense of exhibitor in NTD cash. Re-installation will be issued when the payment completed. Cables will be open wiring. □ All equipment is rental; the exhibitor has to compensate if the equipment is damaged or lost. |  |  |  |  |  |
| Exhibitor |  |  |  | booth no. |  |
| Contact |  | Tel |  | Authorized by | Signature |
| E-MAIL |  |  |  |  |  |

O’YA MARKETING SOLUTION & INTERIOR DESIGN CO., LTD.

TEL：886-2-2655-2777   FAX：886-2-2655-2999

Alice #174 ; Steve #220

oya-secutech@o-ya-design.com

Deadline

2026.03.13

Form 3-7

『Raw Space Only』

| Technical Services |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Item & Description |  |  | Unit Price (US$) | Qty. | Total (US$) |  | Item & Description |  |  | Unit Price (US$) | Qty. | Total (US$) |
| 1 | 110V 0.5 KW |  |  | 30 |  |  | 17 | 3Ø-4W 380V 15A(14HP) |  |  | 316 |  |  |
| 2 | 110V 1 KW |  |  | 60 |  |  | 18 | 3Ø-4W 380V 20A(18HP) |  |  | 408 |  |  |
| 3 | 110V 1.5 KW |  |  | 90 |  |  | 19 | 3Ø-4W 380V 30A(27HP) |  |  | 547 |  |  |
| 4 | 110V 2 KW |  |  | 120 |  |  | 20 | Water |  |  | 185 |  |  |
| 5 | 110V 3 KW |  |  | 180 |  |  | 21 | Ground line(+G) for 50A and below |  |  | 61 |  |  |
| 6 | 110V 4 KW |  |  | 240 |  |  | 22 | Ground line(+G) for 50A and above |  |  | 81 |  |  |
| 7 | 110V 6 KW |  |  | 360 |  |  | 23 | Ground line(+G) for 100A and above |  |  | 142 |  |  |
| 8 | 110V 9 KW |  |  | 540 |  |  |  | Refer to Form 3-8 for additional services |  |  |  |  |  |
| 9 | 110V 12 KW |  |  | 720 |  |  | 24 | 110V ________ KW |  |  |  |  |  |
| 10 | 110V 15 KW |  |  | 900 |  |  | 25 | 1Ø-3Ø3W 220V ________ A |  |  |  |  |  |
| 11 | 110V 18 KW |  |  | 1,080 |  |  | 26 | 3Ø-4W 380V ________ A |  |  |  |  |  |
| 12 | 110V 22 KW |  |  | 1,320 |  |  | 27 | 3Ø-4W 440V ________ A |  |  |  |  |  |
| 13 |  |  |  |  |  |  | 28 | 24 hrs ________ V ________ A |  |  |  |  |  |
| 14 | 1Ø－3Ø3W220V 15A(5HP) |  |  | 136 |  |  | SUBTOTAL |  |  |  | $ |  |  |
| 15 | 1Ø－3Ø3W220V 20A(7HP) |  |  | 254 |  |  | A surcharge of 30% for late order after Mar. 13th, 2026 |  |  |  | $ |  |  |
| 16 | 1Ø－3Ø3W220V 30A(10HP) |  |  | 342 |  |  | TOTAL |  |  |  | $ |  |  |
| Important – Please read and check the boxes below. - Technical plan has to be submitted before Mar. 13th, 2026; - Deadline for ordering all services before Mar. 13th, 2026. A 30% surcharge for late orders will be billed. - Orders cannot be confirmed until payment has been made in full. Fully pay before Apr. 2nd, 2026. Bank costs should be paid by exhibitor. Orders are valid when the accompanied by full payment. - An administration fee will be surcharge of 30% for late order or cancelled within 15 days before show opening. No refund will be made for on-site cancellation. - On-site order will be surcharged at 50% in NTD cash only and will be issued when the payment completed. - Please keep a copy for your records. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| All orders must be submitted with full payment via bank transfer |  |  | O'YA MARKETING SOLUTION AND INTERIOR DESIGN CO., LTD. BANK：HUA NAN COMMERCIAL BANK, LTD CHIEN CHEN BRANCH USD A/C：105-97-000986-1 BANK Address：No. 228, Nanjing W. Rd., Datong Chiu, Taipei City, Taiwan 103, R.O.C. SWIFT : HNBKTWTP105 |  |  |  |  |  |  |  |  |  |  |
| Exhibitor |  |  |  |  |  |  |  |  | Booth no. |  |  |  |  |
| Invoice Address |  |  |  |  |  |  |  |  | Contact | Ms. / Mr. |  |  |  |
| e-mail |  |  |  |  |  |  |  |  | Authorized by | Signature |  |  |  |
| Tel |  |  |  |  |  |  |  |  |  |  |  |  |  |

O’YA MARKETING SOLUTION & INTERIOR DESIGN CO., LTD.

TEL：886-2-2655-2777   FAX：886-2-2655-2999

Alice #174 ; Steve #220

oya-secutech@o-ya-design.com

Deadline

2026.03.13

Form 3-8

## TARIFF FOR HEAVY DUTY ELECTRIC POWER

| No. | Item & Description | Unit Price (US$) | No. | Item & Description | Unit Price (US$) |
| --- | --- | --- | --- | --- | --- |
| A | 110V power consumption |  |  |  |  |
| 1 | 110V 0.5KW | 30 | 9 | 110V 12KW | 720 |
| 2 | 110V 1KW | 60 | 10 | 110V 15KW | 900 |
| 3 | 110V 1.5KW | 90 | 11 | 110V 18KW | 1,080 |
| 4 | 110V 2KW | 120 | 12 | 110V 22KW | 1,320 |
| 5 | 110V 3KW | 180 |  |  |  |
| 6 | 110V 4KW | 240 |  |  |  |
| 7 | 110V 6KW | 360 |  |  |  |
| 8 | 110V 9KW | 540 |  |  |  |
| B | Heavy-Duty power supply |  |  |  |  |
| 1 | 1Ø－3Ø3W 220V 15A(5HP) | 136 | 14 | 3Ø4W 380V 40A(36HP) | 662 |
| 2 | 1Ø－3Ø3W 220V 20A(7HP) | 254 | 15 | 3Ø4W 380V 50A(45HP) | 792 |
| 3 | 1Ø－3Ø3W 220V 30A(10HP) | 342 | 16 | 3Ø4W 380V 60A(53HP) | 1008 |
| 4 | 1Ø－3Ø3W 220V 40A(14HP) | 435 | 17 | 3Ø4W 380V 75A(67HP) | 1197 |
| 5 | 1Ø－3Ø3W 220V 50A(17HP) | 532 | 18 | 3Ø4W 380V 100A(89HP) | 1584 |
| 6 | 1Ø－3Ø3W 220V 60A(20HP) | 695 | 19 | 3Ø4W 440V 15A(16HP) | 345 |
| 7 | 1Ø－3Ø3W 220V 75A(25HP) | 807 | 20 | 3Ø4W 440V 20A(21HP) | 447 |
| 8 | 1Ø－3Ø3W 220V 100A(34HP) | 1,063 | 21 | 3Ø4W 440V 30A(31HP) | 605 |
| 9 | 1Ø－3Ø3W 220V 125A(42HP) | 1,304 | 22 | 3Ø4W 440V 40A(41HP) | 740 |
| 10 | 1Ø－3Ø3W 220V 150A(50HP) | 1,565 | 23 | 3Ø4W 440V 50A(52HP) | 890 |
| 11 | 3Ø4W 380V 15A(14HP) | 316 | 24 | 3Ø4W 440V 60A(62HP) | 1125 |
| 12 | 3Ø4W 380V 20A(18HP) | 408 | 22 | 3Ø4W 440V 75A(77HP) | 1344 |
| 13 | 3Ø4W 380V 30A(27HP) | 547 |  |  |  |
| C | 24-hour power supply |  |  |  |  |
| 1 | 24hrs110V 5A(500W) | 86 | 11 | 3Ø4W 380V 24 hrs. 20A(18HP) | 933 |
| 2 | 24hrs110V 15A(1,500W) | 118 | 12 | 3Ø4W 380V 24 hrs. 30A(27HP) | 1,475 |
| 3 | 24hrs110V 20A(2,000W) | 137 | 13 | 3Ø4W 380V 24 hrs. 40A(36HP) | 1,866 |
|  |  |  | 14 | 3Ø4W 380V 24 hrs. 50A(45HP) | 2,332 |
| 4 | 1Ø－3Ø3W 220V 24hrs. 15A(5HP) | 204 | 15 | 3Ø4W 380V 24 hrs. 60A(53HP) | 2,950 |
| 5 | 1Ø－3Ø3W 220V 24hrs. 20A(7HP) | 298 | 16 | 3Ø4W 440V 24 hrs. 15A(16HP) | 860 |
| 6 | 1Ø－3Ø3W 220V 24hrs. 30A(10HP) | 558 | 17 | 3Ø4W 440V 24 hrs. 20A(21HP) | 1,096 |
| 7 | 1Ø－3Ø3W 220V 24hrs. 40A(14HP) | 737 | 18 | 3Ø4W 440V 24 hrs. 30A(31HP) | 1,720 |
| 8 | 1Ø－3Ø3W 220V 24hrs 50A(17HP) | 896 | 19 | 3Ø4W 440V 24 hrs. 40A(41HP) | 2,192 |
| 9 | 1Ø－3Ø3W 220V 24hrs 60A(20HP) | 1,002 | 20 | 3Ø4W 440V 24 hrs. 50A(52HP) | 2,740 |
| 10 | 3Ø4W 380V 24hrs 15A(14HP) | 737 |  |  |  |
| D | Water / Drain |  | E | Additional Cost of Ground Line (+G) |  |
| 1 | Water inlet and outlet | 185 | 1 | Ground line for 50A and below | 61 |
|  |  |  | 2 | Ground line for 50A and above | 81 |
|  |  |  | 3 | Ground line for 100Aand above | 142 |

O’YA MARKETING SOLUTION & INTERIOR DESIGN CO., LTD.

TEL：886-2-2655-2777   FAX：886-2-2655-2999

Alice #174 ; Steve #220

oya-secutech@o-ya-design.com

Deadline

2026.03.13

Form 3-9

ELECTRIC POWER SUPPLY REFERENCE

| DESCRIPTION OF SERVICE/ITEMS | UNIT POWER |
| --- | --- |
| Desk-top Computer | 200W |
| Notebook | 20~50W |
| Monitor | 50-100W |
| Laser Printer | 50~800W |
| Inkjet Printer | 50~150W |
| Television | 100~150W |
| Sound system | 100~200W |
| Refrigerator | 80~200W |
| Drinking Water Machine | 600W |
| Hot Plate | 800W |
| Microwave Oven | 800W |
| Coffee Maker | 600~1500W |
| Overhead Projector | 800W |
| Fax Machine | 100W |

Important – Please read carefully

- Please calculate the electricity usage indeed; you may use this sheet to calculate your electricity usage.

- If the electricity exceeds the basic use, 500W for each booth, please use Form 3-7 to apply additional electricity.